## Sheet 1
Unique Response Number | 1. Please enter your unique 5-character ID. | 2. Please indicate how the following essential items should be reported. The headings (e.g. A.1, B.2, etc.) refer to the checklist sections. | 2.1.a. A.1. Timeline of experiment (including timing and duration of light) | 2.2.a. A.1. Pre-laboratory light exposure | 2.3.a. A.1. Pre-laboratory sleep-wake behaviour | 2.4.a. A.1. Immediate prior light exposure | 2.5.a. A.1. Description of experimental setting | 2.6.a. A.2. Measurement plane (e.g., horizontal or vertical) | 2.7.a. A.2. Measurement viewpoint and location | 2.8.a. A.2. Make & manufacturer of the measurement instrument | 2.9.a. A.2. Calibration status of the instrument | 2.10.a. B.1. Type, make and manufacturer of the light source | 2.11.a. B.2. Spectral irradiance distribution | 2.12.a. B.2. Illuminance (lux) | 2.13.a. B.2. a−opic irradiance (including melanopic) | 2.14.a. B.4. Temporal pattern (including flicker frequency and waveform) | 2.15.a. B.4. Location of stimulus and viewing distance | 2.16.a. B.4. Relative size of the stimulus | 3. The following items did not reach the threshold for inclusion in Round 1, but have been included in the draft for completeness and technical accuracy. Please select how (and if) the following items should be reported. | 3.1.a. B.2. Spectral radiance distribution | 3.1.b. B.2. Spectral radiance distribution | 3.2.a. B.2. Luminance (cd/m2) | 3.2.b. B.2. Luminance (cd/m2) | 3.3.a. B.2. a−opic radiance (including melanopic) | 3.3.b. B.2. a−opic radiance (including melanopic) | 3.4.a. B.2. a−opic equivalent daylight illuminance (EDI, including melanopic) | 3.4.b. B.2. a−opic equivalent daylight illuminance (EDI, including melanopic) | 3.5.a. B.2. a−opic equivalent daylight luminance (EDL, including melanopic) | 3.5.b. B.2. a−opic equivalent daylight luminance (EDL, including melanopic) | 3.a. The following items were newly added to the checklist based on open-text suggestions in Round 1. Please select how (and if) the following items should be reported. | 3.a.1.a. A.3. Pupil dilation | 3.a.1.b. A.3. Pupil dilation | 3.a.2.a. A.3. Circadian time | 3.a.2.b. A.3. Circadian time | 3.a.3.a. A.3. Ocular health and function | 3.a.3.b. A.3. Ocular health and function | 3.a.4.a. B.1. Use of filtering apparatus (e.g., blue-blocking glasses) | 3.a.4.b. B.1. Use of filtering apparatus (e.g., blue-blocking glasses) | 4. | 4.1.a. CIE S026 quantities: a-opic efficacy of luminous radiation (a-opic ELR) | 4.2.a. CIE S026 quantities: a-opic daylight (D65) efficacy ratio (a-opic DER) | 4.3.a. Colour quantities: CIE 1931 XYZ (tristimulus coordinates) | 4.4.a. Colour quantities: Duv | 4.5.a. Colour quantities: CIE 1976 u'v' | 4.6.a. Colour quantities: CIE 1964 XYZ (tristimulus coordinates) | 4.7.a. Colour quantities: CIE 1931 xy (chromaticity) | 4.8.a. Colour quantities: CIE 1964 xy (chromaticity) | 4.9.a. Colour quantities: Correlated colour temperature (CCT) | 4.10.a. Colour rendition metrics: Rg (Colour Gamut Score; IES TM-30-15, CIE 224:2017) | 4.11.a. Colour rendition metrics: Rf (Colour Fidelity Index; IES TM-30-15, CIE 224:2017) | 4.12.a. Colour rendition metrics: Ra (Colour Rendering Index = CRI; CIE 13.3:1995) | 4.13.a. Experimental setting-level: Photograph of experimental setting | 4.14.a. Experimental setting-level: Drawing of experimental setting | 4.15.a. Experimental setting-level: Room geometry (including size) | 4.16.a. Instrument-level characteristics: Serial number | 4.17.a. Instrument-level characteristics: Calibration year | 4.18.a. Photometric quantities: Retinal illuminance (in Trolands) | 4.19.a. Source-level characteristics: Manufacturer-supplied characteristics (CCT, spectrum, ...) | 4.20.a. Spatial characteristics: Natural-language descriptors of spatial configuration | 4.21.a. Spatial characteristics: Absolute size of stimulus (e.g. in mm) | 4.22.a. Spectral characteristics: Spectral power distribution (arbitrary units) | 4.23.a. Spectral characteristics: Spectral power distribution (normalised) | 5. Do you have any comments or feedback on the current checklist, either regarding content or format?
1 | 1 |  | Text,Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Figure | Text | Text,Table | Text | Text | Text |  | Figure | Should not be included | Text | Should not be included | Text,Table |  | Text,Table |  | Text,Table |  |  | Text |  | Text |  | Text |  | Text | [20 empty] | Should be included | Should be included
2 | 2 |  | Figure | Text | Text | Table | Text | Text | Text | Text | Text | Text | Figure | Table | Table | Figure | Text | Text |  | Figure |  | Table |  | Table |  | Table |  | Table |  |  | Text |  | Text |  | Text |  | Text | [25 empty] | Looks good!
3 | 3 |  | Text,Figure | Text | Text,Table,Figure | Text,Table,Figure | Text | Text | Text,Figure | Text | Text | Text | Table,Figure | Text,Table | Table | Text,Table,Figure | Text,Figure | Text |  | Table,Figure |  | Text,Table,Figure |  | Table |  | Table |  | Table |  |  | Text,Table |  | Text,Table,Figure |  | Text,Table |  | Text | [8 empty] | Should be included |  |  | Should be included | Should be included | Should be included | Should be included | Should be included |  |  | Should be included | [5 empty] | Should be included | For some questions I was not able to give the answer I wanted to.
4 | 4 |  | Text,Figure | Text | Table | Text | Text,Figure | Figure | Text,Figure | Text | Text | Text | Figure | Table | Table | Text,Table | Text,Figure | Text |  | Figure |  | Table |  | Text,Table |  | Text,Table |  | Text,Table |  |  | Text |  | Table |  | Text | Should not be included | Text | [10 empty] | Should be included | Should be included | Should be included | Should be included | Should be included | Should be included | Should be included | [5 empty] | Should be included |  | Should be included
5 | 5 |  | Figure | Text | Text | Text | Text,Figure | Text | Text,Figure | Text | Text | Text | Table,Figure | Text | Text | Text,Figure | Text,Figure | Text,Figure |  | Figure | Should not be included | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table |  |  | Text | Should not be included | Text | Should not be included | Text | Should not be included | Text | [5 empty] | Should be included |  |  |  |  | Should be included | Should be included | Should be included |  | Should be included | Should be included | Should be included | Should be included | Should be included | [6 empty] | The summary reads "for 18 items, ≥20% of participants reported not recognizing the item and consequently not be able to evaluate its importance. These items mostly concerned color (rendition) metrics as well as CIE S026 α-opic quantities." As intimated, lack of recognition is not equivalent to unimportant. In some setting, color rendering measures are highly relevant, though (and I believe I noted this in the first survey), use of Rf and Rg is incomplete (I would recommend using the quantities in Annex E of TM-30). Nevertheless, this is not a critical item *if* the research team reports the spectral irradiance distribution (as a figure, and in supplementary data file with tabulated values), since the absolute SPD will then be archived and derived measures will be computable. The three options were "text", "table", "figure", but "supplemental material" is another viable option, and I believe preferred for some data, such as tabulated spectral irradiance distribution. On the topic of spectral irradiance distribution, locations (plural) of measurement should also be included. Insofar as possible, there should also be some measurement and/or discussion of the variability of the stimulus--e.g., to what degree is the visual stimulus consistent as a person rotates their head or moves through the experimental environment? This will vary for an experiment with a Ganzfeld versus an experiment with an ambulatory observer. I believe the check-list should prompt someone to both consider and document the *variability* that was likely present in the stimulus. There are several instances where one or the other would be fine. For example, the research team could describe the experimental setting with a drawing, photograph, room geometry, and/or written description, but different situations may have different needs and all four will not generally be required. I would expect it to be easier to document a Ganzfeld set-up than an environment with an ambulatory observer. I found "ocular functioning" to be too vague. Does this mean things like an Ishihara screening test score? Or a general test of ocular health like a Keystone Visual Skills test? Or does it also include a FM-100 Hue Test, Snellen eye chart, evaluation of cataracts, eyewear prescriptions, etc. "Pupil dilation" is also vague. Does this mean natural vs. dilated pupil? Or is continuous pupil monitoring expected during all experiments? Not all experimental protocols will allow for the latter. "Circadian time" is also unclear to me. Perhaps I am naive on this topic, but how practical is it to determine circadian time on a per-participant basis? Would that not require sequestering participants in a sleep lab for days prior to any study? Clarification of intent would be helpful. Please reconsider the use of the term "monochromatic light source". A phrase such as "narrow emitting" would be preferred. The categories of "monochromatic" and "polychromatic" are also limiting. What if a source has only one peak but it has a FWHM of 40 nm? Neither of those terms would be a correct descriptor. Again, I believe this comes back to encouraging inclusion of the spectral irradiance distribution as a figure (and tabulated supplemental data), rendering short-hand descriptions unimportant. Some guidance on expectations around "flicker" would be welcomed. Measuring temporal light modulation requires specialized equipment and my guess is that most labs will not have the gear to measure and report quantities in ANSI/IEEE PAR 1789-2015.
6 | 6 |  | Text,Table,Figure | Text | Text | Text,Table,Figure | Text,Figure | Text | Text | Text,Table | Text | Text,Table | Text,Table,Figure | Text,Table,Figure | Text,Table,Figure | Text | Text | Text |  | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table,Figure |  | Text |  |  | Text |  | Text,Table,Figure |  | Text |  | Text | [10 empty] | Should be included
7 | 7 |  | Text,Figure | Text,Table | Text,Table | Text | Text | Text | Text,Figure | Text | Text | Text | Figure | Text,Table | Text,Table | Text,Figure | Text | Text |  | Text | Should not be included | Text,Table |  | Text | Should not be included | Text,Table |  | Text | Should not be included |  | Text |  | Text,Figure |  | Text |  | Text | [10 empty] | Should be included | [9 empty] | Should be included |  |  | Should be included
8 | 8 |  | Text | Text,Table | Text,Table | Text,Table | Text | Text,Figure | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Text,Figure | Text,Figure |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  |  | Text |  | Text |  | Text |  | Text
9 | 9 |  | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text | Text,Table | Text,Table | Text | Table | Table | Table | Table | Table | Table | Text | Text |  | Table |  | Table |  | Table |  | Table |  | Table |  |  | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table | [25 empty] | Regarding where the different elements are reported, I think some of this is a matter of personal preference and/or specifications by specific journals. I can imagine some journals asking people to include these details as an appendix. I think we should be prepared to teach people who are not used to reporting all of these parameters how to measure them.
10 | 10 |  | Text,Figure | Text | Text | Text,Figure | Text | Text,Table | Text,Table | Text | Text | Text | Figure | Text,Table,Figure | Text,Table,Figure | Text,Figure | Text | Text |  | Table |  | Table |  | Table |  | Text,Table,Figure |  | Table |  |  | Text |  | Text |  | Text |  | Text |  |  |  | Should be included | [11 empty] | Should be included |  | Should be included | Should be included |  | Should be included |  |  |  | Should be included
11 | 11 |  | Text,Figure | Text | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Text,Figure | Text | Text,Figure | Text | Text,Figure | Text |  | Text,Figure |  | Text |  | Text,Figure |  | Text |  | Text |  |  | Text |  | Text |  | Text |  | Text | [14 empty] | Should be included | [7 empty] | Should be included |  |  | I like the checklist approach, but it also got me thinking that perhaps a fillable PDF where the key information is filled out might be a useful template to include as supplemental for papers. That way all light information would be reported in a systematic way across papers in an easy reference table. I appreciate, though, that the variety of protocols and light sources may make this difficult.
12 | 12 |  | Text,Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Figure | Text | Table | Text | Text | Text |  | Figure |  | Text |  | Table |  | Text,Table |  | Text,Table | Should not be included |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included |  |  |  |  | Should be included | [5 empty] | Should be included
13 | 13 |  | Text,Table,Figure | Text,Table,Figure | Text,Table,Figure | Text,Table,Figure | Text,Figure | Text,Figure | Figure | Text | Text | Text | Table,Figure | Text | Text | Text,Figure | Text | Text |  | Table,Figure |  | Text |  | Text,Table |  | Text,Table |  | Text,Table |  |  | Text,Table |  | Text,Table |  | Text,Table |  | Text | [25 empty] | I have no strong preferences about the format (text, table, figures) that should be used to report most of these quantities, as far as they are effectively reported and easily available to the readers. As a general rule I would recommend giving freedom to authors for choosing their preferred formats, consistent with the overall outlook of their papers. The only exception would be the spectral distributions (if not standard like D65, blackbodies, etc), which should be provided quantitatively, as tables (in print) and/or as electronic txt or csv files, for facilitating the reproduction of the calculations and the derivation of additional metrics in future studies or meta-analyses based on these papers. 'Pupil dilation' should perhaps be relabeled as 'Pupil diameter', and it should be reported routinely, in mm, in order to properly assess retinal illuminances.
14 | 14 |  | Figure | Text | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text |  | Text,Figure |  | Text,Table |  | Text |  | Text |  | Text |  |  | Text,Figure |  | Text,Table |  | Text,Table |  | Text | [10 empty] | Should be included |  |  |  | Should be included | Should be included |  |  | Should be included | Should be included | Should be included | Should be included | Should be included |  | Should be included
15 | 15 |  | Table | Text | Text | Text,Table | Text | Text | Text | Text | Text | Text | Figure | Text | Text | Figure | Text | Text |  | Figure | Should not be included | Text |  | Text |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  |  | Text |  | Text |  | Text |  | Text | [25 empty] | Some items that require graphics do not merit journal space.
16 | 16 |  | Text,Figure | Text | Text | Text | Text,Figure | Text,Figure | Text,Figure | Text | Text | Text | Figure | Text,Table | Text,Table | Text | Text,Figure | Text,Figure |  | Don't know or recognise this quantity/item |  | Text |  | Text |  | Text,Table |  | Text,Table |  |  | Text | Should not be included | Text |  | Text |  | Text | [10 empty] | Should be included |  |  |  | Should be included |  | Should be included | [8 empty] | I think some measures/study characteristics should / should not be reported depending on the type of study conducted and the research question.
17 | 17 |  | Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Table | Table | Table | Table | Text | Text |  | Table | Should not be included | Table | Should not be included | Table | Should not be included | Table | Should not be included | Table | Should not be included |  | Text |  | Text |  | Text |  | Text | [25 empty] | there should also be an option of putting some of this in supplemental material.
18 | 18 |  | Text | Text | Text | Text | Text,Figure | Text,Figure | Text,Figure | Text | Text | Text | Table,Figure | Text,Table | Table | Text,Figure | Text,Figure | Text |  | Figure | Should not be included | Text | Should not be included | Figure | Should not be included | Text,Figure | Should not be included | Text,Figure | Should not be included |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included |  |  |  | Should be included | Should be included |  | Should be included | Should be included |  |  |  |  | Should be included |  | It is not clear how one determined what completeness and technical accuracy is and why some metrics that were not deemed important by over 75% of the participants are being added and others are not. Need some explanation. For example, I believe that for technical accuracy, inclusion of SPD is very important, and yet, it was not added. Any justification?
19 | 19 |  | Text,Table,Figure | Text,Table | Figure | Text,Table | Text,Figure | Text,Figure | Figure | Text,Table | Text,Table | Text,Table | Figure | Text,Table,Figure | Text,Table,Figure | Figure | Text,Figure | Text |  | Figure |  | Text,Table |  | Text | Should not be included | Text,Table |  | Text | Should not be included |  | Text | Should not be included | Text |  | Text |  | Text | [10 empty] | Should be included |  |  |  |  | Should be included | Should be included | [7 empty] | Should be included | Sometimes hard to choose format as it will depend a lot on what more extensive experimental information this data will be part of.
20 | 20 |  | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text | Text | Text | Text | Text | Text | Figure | Text,Table | Text,Table | Text,Table | Text | Text |  | Figure | Should not be included | Table | Should not be included | Table |  | Table |  | Table |  |  | Text |  | Text |  | Text |  | Text |  |  |  | Should be included | [20 empty] | Should be included | Agree with the inclusion of items added for completeness. Don't think there is need for inclusion of both spectral irradiance distribution AND spectral radiance distribution
21 | 21 |  | Figure | Text | Text,Table | Text | Text | Text | Text,Figure | Text | Text | Text | Figure | Text,Table | Text,Table | Text,Figure | Text,Figure | Text |  | Figure |  | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table |  |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included |  |  | Should be included | Should be included |  | Should be included | [8 empty] | I felt that the choice for table, text or figure is often dependent on the level of details that are provided or can be integrated in one table or figure as well as on the structure and target outlet of the manuscript.
22 | 22 |  | Text,Figure | Table | Text | Text | Text | Text | Text | Text | Text | Text | Table,Figure | Text,Table | Text,Table | Text | Text | Text |  | Table |  | Table |  | Table |  | Table |  | Table |  |  | Text |  | Text |  | Text |  | Text | [8 empty] | Should be included |  | Should be included |  |  | Should be included
23 | 23 |  | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text | Table,Figure | Text | Text,Table | Text | Text | Text |  | Table,Figure | Should not be included | Text,Figure |  | Text,Figure | Should not be included | Text |  | Text | Should not be included |  | Text |  | Text |  | Text |  | Text |  |  |  | Should be included |  | Should be included |  |  |  |  | Should be included |  | Should be included | Should be included
24 | 24 |  | Text,Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Figure | Table | Table | Text | Text | Text |  | Figure |  | Table |  | Figure |  | Table |  | Table |  |  | Text |  | Text,Table |  | Text |  | Text,Figure | [10 empty] | Should be included | [14 empty] | At present, the checklist does not differentiate between essential items, necessary in all lighting studies, or - for lack of a better word - typical items, necessary for some specific lighting studies. In part, those specific items falling out of the checklist, I guess. For example - peak wavelength and bandwidth might not be important for a general purpose, polychromatic light study, but I would find it remiss were they not reported as part of a Monochromatic/Narrowband study light. I know that making the checklist too complicated will hinder it's usage, but I still wanted to give you my thoughts on it.
25 | 25 |  | Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Figure | Table | Table | Text | Text | Text |  | Figure |  | Table |  | Table |  | Table |  | Table |  |  | Text |  | Text |  | Text |  | Text | [20 empty] | Should be included |  |  |  | Should be included
26 | 26 |  | Text,Figure | Text | Text | Text | Text,Figure | Text | Text | Table | Text | Text | Figure | Text | Text,Table | Text,Figure | Text,Figure | Text |  | Text,Figure |  | Text |  | Text,Table |  | Text,Table |  | Text,Table |  |  | Text |  | Text |  | Text |  | Text
27 | 27 |  | Text,Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Text |  | Text | Should not be included | Text | Should not be included | Text | Should not be included | Text | Should not be included |  | Text |  | Text |  | Text |  | Text
28 | 28 |  | Text,Table,Figure | Table | Text,Table | Text,Table | Text,Table | Text,Table,Figure | Text,Figure | Text | Text | Text | Table,Figure | Table | Text,Table | Text,Table | Text,Table,Figure | Text,Table |  | Table,Figure |  | Table |  | Table,Figure |  | Table |  | Table |  |  | Text |  | Text,Table |  | Text |  | Text |  |  | Should be included | Should be included |  | Should be included | Should be included |  | Should be included | Should be included | Should be included | Should be included | Should be included | Should be included | Should be included | Should be included | Should be included |  | Should be included | Should be included |  |  | Should be included | Should be included | Should be included | in working areas, in hospitals, schools and in home office spaces, not only non-visual metrics and values are important, the visual and emotional metrics and values like color rendering, CCT, color coordinates and absolute illuminance (luminance) are absolutly needed.
29 | 29 |  | Text,Figure | Text | Text,Figure | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text,Table | Table | Figure | Text,Figure | Figure |  | Figure |  | Text,Table |  | Table |  | Table |  | Table |  |  | Text |  | Text,Figure |  | Text |  | Text | [14 empty] | Should be included | Should be included | Should be included |  | Should be included |  |  |  | Should be included
30 | 30 |  | Text,Figure | Text | Text,Figure | Text | Text,Figure | Text,Figure | Text,Figure | Text | Text | Text | Table,Figure | Text | Text | Text,Table,Figure | Text,Figure | Text,Figure |  | Text,Table |  | Text |  | Text |  | Text |  | Text |  |  | Text |  | Text |  | Text |  | Text |  |  |  |  | Should be included | [5 empty] | Should be included |  |  | Should be included | Should be included | Should be included |  |  |  | Should be included | [5 empty] | I was unsure what the text, figure, and table separation meant. Was this more for the academic dinosaurs and keeping up with the status quo of not submitting the actual tabulated data as data and not as table requiring someone to copy it from there to Excel? There should be an additional column whether someone should be included as "data" and not some hard-coded table on a paper that is not readily available for re-analysis. Same goes for all the "research artifacts" using machine learning glossary. Whatever measurement data that could be useful in reproducing the experimental results, or simulating small changes to it should be mentioned? And I guess this particular research field is not very computer-savvy, so maybe the requirement or desire to submit the analysis as a code is utopy for reproducibility? To avoid papers having something like "custom Matlab code was written, or analysis was done with Excel/SPSS" and no one has any way of knowing that the actual quantitative analysis made sense, with the authors just describing their methods as text?
31 | 31 |  | Figure | Text,Table | Table | Text,Table | Text,Figure | Text | Text | Text | Text | Text | Figure | Table | Table | Figure | Text,Figure | Text,Table,Figure |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Text,Table |  | Don't know or recognise this quantity/item |  |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included
32 | 32 |  | Figure | Table | Table | Table,Figure | Text,Figure | Text | Text | Text | Text | Text | Figure | Table | Table,Figure | Figure | Text,Figure | Text,Figure |  | Figure | Should not be included | Table |  | Table | Should not be included | Table |  | Table |  |  | Text |  | Text,Table |  | Text |  | Text | [6 empty] | Should be included |  |  | Should be included | [12 empty] | Should be included
33 | 33 |  | Text | Text | Text | Text | Text | Table | Text | Text | Text | Text | Figure | Table | Table | Text | Text | Text |  | Don't know or recognise this quantity/item | Should not be included | Don't know or recognise this quantity/item | Should not be included | Don't know or recognise this quantity/item | Should not be included | Table |  | Don't know or recognise this quantity/item | Should not be included |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included | [13 empty] | Should be included | There was an issue on Question 3 that I couldn't just select "Should not be included" but had to also select the adjacent column to proceed
34 | 34 |  | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text | Table | Table | Text | Text | Text | Figure | Text,Table | Table | Text,Table | Text | Text |  | Figure |  | Table |  | Table |  | Table |  | Table | Should not be included |  | Text |  | Text |  | Text |  | Text
35 | 35 |  | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text | Text | Text | Figure | Text,Table | Text,Table | Text | Text,Figure | Text,Figure |  | Table |  | Table |  | Text,Table |  | Text,Table |  | Table | Should not be included |  | Text |  | Text,Figure |  | Text |  | Text,Figure | [10 empty] | Should be included |  |  |  |  | Should be included |  |  | Should be included |  | Should be included |  | Should be included |  | Should be included
36 | 36 |  | Text,Table,Figure | Text,Table | Text | Text,Table,Figure | Text,Figure | Text | Text,Figure | Text,Table | Table | Text,Table | Table,Figure | Text,Table | Text,Table,Figure | Text,Table,Figure | Text,Figure | Text,Table,Figure |  | Figure |  | Table,Figure |  | Table,Figure |  | Text,Table |  | Table,Figure |  |  | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table
37 | 37 |  | Figure | Text | Text | Text | Text,Figure | Table | Table | Text | Text | Text | Text,Table | Text,Table | Text,Table | Table | Text | Text |  | Table |  | Table |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  |  | Don't know or recognise this quantity/item |  | Text,Figure |  | Text |  | Text
38 | 38 |  | Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Figure | Table | Table | Figure | Text,Figure | Text,Figure |  | Figure |  | Text,Table |  | Table |  | Table |  | Text | Should not be included |  | Text |  | Text |  | Text |  | Text | [11 empty] | Should be included | Should be included | Should be included | Should be included | [5 empty] | Should be included |  | Should be included
39 | 39 |  | Text,Figure | Text | Text | Text | Text,Figure | Table | Table | Table | Table | Text | Table | Table | Table | Text | Text,Figure | Text,Figure |  | Table |  | Table | Should not be included | Table | Should not be included | Table |  | Table |  |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included |  |  |  |  | Should be included | [5 empty] | Should be included |  |  | Should be included
40 | 40 |  | Text,Figure | Text,Table | Text,Table | Text | Text | Table | Table | Text | Text | Text | Figure | Table | Table | Table | Table | Table |  | Table,Figure |  | Table |  | Table |  | Table |  | Table |  |  | Text |  | Text,Table |  | Text |  | Text | [15 empty] | Should be included
41 | 41 |  | Figure | Text | Text,Table | Text | Text,Figure | Text,Figure | Text,Figure | Text | Text | Text | Figure | Text,Table | Text,Table | Text,Figure | Text,Figure | Text |  | Figure | Should not be included | Table | Should not be included | Text,Table |  | Text,Table |  | Text,Table |  |  | Table |  | Don't know or recognise this quantity/item |  | Text |  | Text |  |  | Should be included | [7 empty] | Should be included |  |  |  |  | Should be included | Should be included |  |  |  | Should be included
42 | 42 |  | Text,Table,Figure | Text,Table | Text | Text | Text,Table,Figure | Text | Text,Figure | Text | Text | Text | Text,Table,Figure | Text,Table | Text | Text,Table,Figure | Text,Table,Figure | Text,Table |  | Text,Figure |  | Don't know or recognise this quantity/item | Should not be included | Text,Table,Figure |  | Text,Table,Figure |  | Text,Table,Figure |  |  | Text,Table,Figure |  | Text,Table |  | Text,Table |  | Text,Table | [14 empty] | Should be included | Should be included | [9 empty] | In a few instances, I don't really have a strong preference for whether the information is shared in text or table, or even in a figure versus text, and would be happy to have the information presented in any of those formats. I think as long as it's on the checklist, the authors of a given paper can choose whichever way of reporting the info that makes the most sense for their paper. As another example, if a drawing of the experiemental set up is previously published, they could reference that and not waste a figure in the present paper on a previously published figure.
43 | 43 |  | Text,Figure | Text,Table | Text,Table | Text | Text,Figure | Text | Text | Text | Text | Text | Table,Figure | Text | Text,Table | Text,Figure | Text | Text |  | Table | Should not be included | Text | Should not be included | Text,Table | Should not be included | Text,Table |  | Text | Should not be included |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included | [14 empty] | It was difficult to answer about Page 3. I don't think it is necessary to report information on radiance if information on spectral irradiance distribution is provided.
44 | 44 |  | Figure | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text | Figure | Table | Table | Text | Text | Text |  | Figure |  | Table |  | Table |  | Table |  | Table |  |  | Text |  | Text |  | Text | Should not be included | Text | [14 empty] | Should be included | [10 empty] | Comment on "A.3. Ocular health and function" on page 3: Ocular health should be a requirement for these studies. Subjects' age will give information on transmittance properties of the eye lens.
45 | 45 |  | Text,Figure | Text | Text | Text,Table,Figure | Text,Figure | Text,Table | Text,Figure | Text | Text | Text | Table,Figure | Text,Table | Table | Text,Table,Figure | Text,Figure | Text,Figure |  | Table,Figure |  | Text,Table |  | Table |  | Text,Table |  | Text,Table |  |  | Text |  | Text,Table,Figure |  | Text |  | Text | [6 empty] | Should be included |  |  |  | Should be included |  |  |  | Should be included | Should be included | Should be included |  |  |  |  | Should be included |  |  | Should be included | I miss any information on uniformity/contrast in the field of view. Thanks for the work!
46 | 46 |  | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text |  | Text | Should not be included | Text | Should not be included | Text | Should not be included | Text |  | Text | Should not be included |  | Text |  | Text |  | Text |  | Text | [25 empty] | Some of the above questions depend entirely upon the study. For example, in some studies radiance rather than irradiance may be relevant. As such, trying to answer the questions is very context dependent. In addition, it was not possible to select 'not required' without also checking one of the boxes stating that a quantity should be reported, which was very confusing
47 | 47 |  | Text | Text | Text | Text | Text,Figure | Text | Text,Figure | Text | Text | Text | Figure | Text | Text,Table | Text | Text,Figure | Text |  | Figure | Should not be included | Text |  | Table |  | Table |  | Table | Should not be included |  | Text | Should not be included | Text | Should not be included | Text |  | Text | [5 empty] | Should be included | Should be included |  |  |  | Should be included | Should be included | Should be included |  | Should be included | Should be included | Should be included |  |  |  | Should be included |  |  |  |  | CIE TN 011:2020 distinguishes between information that one should document (keep in one's records) versus report (in a manuscript). This ensures that information that could only be obtained during the study exists, should it be requested later. I think this is a useful distinction that could apply to some of the checklist items here, particularly the ones that didn't quite make the cut.
48 | 48 |  | Figure | Table,Figure | Table,Figure | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text,Table | Text | Text | Text |  | Figure |  | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table |  |  | Table,Figure |  | Text |  | Text |  | Text | [10 empty] | Should be included | [6 empty] | Should be included | Should be included | [5 empty] | Should be included
49 | 49 |  | Figure | Text | Text | Figure | Text | Table | Table | Text | Text | Text | Table | Table | Table | Table | Text | Text |  | Text |  | Text |  | Table |  | Table |  | Table |  |  | Text | Should not be included | Table |  | Text |  | Text
50 | 50 |  | Text | Text | Text | Text | Text | Text | Text | Text | Text | Text | Figure | Text | Table | Figure | Text | Text |  | Figure | Should not be included | Text | Should not be included | Text | Should not be included | Table |  | Table | Should not be included |  | Text |  | Text |  | Text |  | Text | [13 empty] | Should be included | [11 empty] | It seems a bit odd that some of the items are included despite experts evaluated it as not necessary in the survey. May be this needs to be determined more thoroughly?
51 | 51 |  | Text,Figure | Table | Text,Table | Text,Table,Figure | Text,Table,Figure | Text | Text,Figure | Text | Text | Text | Text,Table,Figure | Text,Table,Figure | Text,Table,Figure | Text,Table | Text,Figure | Text,Figure |  | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table |  | Text,Table |  |  | Text |  | Text,Table |  | Text |  | Text |  |  |  | Should be included | [9 empty] | Should be included | Should be included | Should be included | Should be included | [5 empty] | Should be included | Should be included | Should be included | Some items can be either/or (Spectral characteristics: Spectral power distribution (arbitrary units) or Spectral characteristics: Spectral power distribution (normalized)) but one should be provided.
52 | 52 |  | Figure | Text | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Table,Figure | Text,Table | Text,Table | Text,Figure | Text,Figure | Text,Figure |  | Table,Figure |  | Text,Table |  | Table |  | Table |  | Table |  |  | Text |  | Table |  | Text |  | Text | [9 empty] | Should be included | Should be included | [5 empty] | Should be included |  |  |  |  | Should be included | Should be included | Should be included |  | The format is fine. Definitely best to make it a clickable form, in my opinion. Web forms can be difficult to access sometimes, and also take longer to complete. On content: the participant-level descriptors are less precise than the other items. E.g. pupil dilation: presumably this refers to whether or not pupils have been artificially dilated or not, not the actual pupil size? For naturalistic settings where groups of participants are tested, pupil size is not a feasible measure. N/A would suffice as an answer if the question did refer to pupil size measurements, but it is not clear. Likewise, ocular health and functioning is open-ended. Other participant-level characteristics might be equally important, such as age and cognitive function. If there is to be a checklist on participant-level characteristics, it should therefore be made longer and more specific. An alternative would be to restrict the form to non-participant-related items.
53 | 53 |  | Text,Table | Table | Text | Table | Text | Text | Figure | Text | Text | Text | Table,Figure | Table | Table | Table,Figure | Text,Figure | Text |  | Table,Figure |  | Table |  | Table |  | Table |  | Table |  |  | Table |  | Table,Figure |  | Text |  | Table,Figure |  |  | Should be included | Should be included | [11 empty] | Should be included | Should be included |  |  |  |  | Should be included | Should be included | Should be included |  | To make the interpretation traceable, data (e.g. spectral and/or spatial distributions, spectral filter functions, temporal behaviour...) should be made available as a data set via a repository.
54 | 54 |  | Text,Figure | Text,Table,Figure | Text,Table,Figure | Text,Table,Figure | Text | Text | Text,Figure | Text | Text | Text | Text,Table | Text,Table | Text,Table | Text | Text,Figure | Text,Figure |  | Table |  | Table |  | Table |  | Table |  | Table |  |  | Text |  | Text,Table |  | Text |  | Text | [16 empty] | Should be included
55 | 55 |  | Table | Text | Text | Text | Table | Figure | Figure | Text | Text | Text | Figure | Text | Text | Text,Figure | Text | Text |  | Text |  | Text |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  |  | Text |  | Figure |  | Text |  | Text
56 | 56 |  | Text,Figure | Figure | Text,Figure | Text | Text | Text | Text | Text | Text | Text | Table,Figure | Text | Table,Figure | Text | Text | Text |  | Table |  | Text | Should not be included | Table,Figure |  | Table,Figure |  | Table | Should not be included |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included | [5 empty] | Should be included |  | Should be included
57 | 57 |  | Text | Text | Text,Figure | Text | Text | Text | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text |  | Text | Should not be included | Text | Should not be included | Text | Should not be included | Text | Should not be included | Text | Should not be included |  | Text |  | Text |  | Text |  | Text | [25 empty] | It's really important to make it easy for researchers to publish research results, therefore the checklist should be short and easy to fill out. The measurements should be easy to take and the equipment required should be easily accessible, so it's not just the labs with the most funding who can take them. Let's not become gatekeepers of this research field!
58 | 58 |  | Text,Figure | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text |  | Text |  | Text |  | Text |  | Text |  | Text |  |  | Text |  | Text |  | Text |  | Text |  |  |  | Should be included | [21 empty] | I hope that individuals in the architectural lighting community are included in this effort. I am currently going through a procurement for new lights, but the vendors require DER values. It would be helpful to know what manufacturers/designers need so that they can use the information from our papers to select appropriate lighting for circadian health.
59 | 59 |  | Text,Figure | Text,Table | Text,Table | Text | Text,Figure | Text | Text | Text | Text | Text | Text,Figure | Text | Text | Text | Text | Text |  | Text | Should not be included | Text | Should not be included | Text |  | Text |  | Text | Should not be included |  | Text |  | Text |  | Text |  | Text | [15 empty] | Should be included
60 | 60 |  | Figure | Figure | Table | Figure | Text,Figure | Text | Text | Text | Text | Text | Table | Text,Table | Table | Text | Figure | Text |  | Table |  | Text |  | Table |  | Text,Table |  | Text,Table |  |  | Text |  | Don't know or recognise this quantity/item |  | Text |  | Text | [7 empty] | Should be included |  |  | Should be included |  |  |  | Should be included
61 | 61 |  | Text,Figure | Text | Text | Text | Text,Figure | Figure | Figure | Text | Text | Text | Figure | Text,Table | Table | Text,Table | Text,Figure | Text |  | Figure | Should not be included | Text,Table | Should not be included | Text,Table | Should not be included | Text,Table |  | Text,Table | Should not be included |  | Text |  | Text |  | Text |  | Text | [10 empty] | Should be included |  |  | Should be included | [8 empty] | Should be included
62 | 62 |  | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text,Figure | Text | Text,Figure | Text | Text | Text | Text,Figure | Text | Text | Text,Figure | Text,Figure | Text |  | Text,Figure | Should not be included | Text | Should not be included | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  | Don't know or recognise this quantity/item |  |  | Text |  | Text,Figure |  | Text |  | Text | [18 empty] | Should be included | [6 empty] | I find it extremely difficult to answer these questions as answers depend on the experimental aims and context.
63 | 63 |  | Text | Text | Text | Text | Table | Text | Text | Text | Text,Figure | Text,Figure | Figure | Figure | Figure | Figure | Text | Text |  | Text |  | Text |  | Text |  | Text |  | Text |  |  | Text |  | Text |  | Text |  | Text | [19 empty] | Should be included | [5 empty] | no